## Slide 1: DC Motor CHARACTERISTICS

## Slide 2: MOTOR CHARACTERISTICS
Torque and armature current : Ta / Ia – Electrical characteristic
Speed and armature current: N/ Ia
Speed and torque: N / Ta - Mechanical characteristic

## Slide 3: CHARACTERISTICS OF DC SERIES MOTOR

## Slide 4: CHARACTERISTICS OF DC SERIES MOTOR

## Slide 5: CHARACTERISTICS OF DC SHUNT MOTOR

## Slide 6: COMPOUND MOTORS
Cumulative compound Motors Differential – Compounded Motor

## Slide 8: CHARACTERISTICS OF COMPOUND MOTOR

## Slide 10
Summary of Applications |  | 
Type of Motor | characteristics | Applications
Shunt | Approximately constant Adjustable speed Medium starting torque(upto 1.5 F.L. torque) | For driving constant speed line shafting Lathes Centrifugal pumps Blowers and fans Reciprocating pumps
Series | Variable speed Adjustable varying speed High starting torque | Traction work – electric locomotives Rapid transit systems Trolley, cars etc. Cranes and hoists conveyors
Cumulative compound | Variable speed Adjustable varying speed High starting torque | For high intermittent torque loads Shears and punches Elevators Conveyors Heavy planers Rolling mills; ice machines; printing presses; air compressors

## Slide 11: POWER FLOW DIAGRAM

## Slide 12: Series Motor Power Flow Diagram
P
Pout
Pin= VTiL
Pca=ia2Ra
Pcf=ia2Rf
Pm
P is normally given
Pin = Pout + total losses
Where,
Pca =armature copper loss
Pcf =field copper loss
P=stray, mech etc
Pm= Ea ia

## Slide 13: Shunt Motor (power flow diagram)
P
Pout
Pin=VTiL
Pca=ia2Ra
Pcf=if2Rf
Pm
P is normally given
Pin = Pout + total losses
Where,
Pca =armature copper loss
Pcf =field copper loss
P=stray, mech etc
Pm= Ea ia

## Slide 14: Compound motor (power flow diagram)
P is normally given
Pin = Pout + total losses
Where,
Pca =armature copper loss
Pcf =field copper loss
P=stray, mech etc
Pm= Ea ia
P
Pout
Pin=VTiL
Pca=ia2Ra
Pcf1=if2Rf1
Pm
Pcf2=ia2Rf2

## Slide 15
Thank you

## Slide 17: DYNAMIC BRAKING

## Slide 18: DYNAMIC BRAKING